Today’s date: 		        05/24/2024

Practice/Physician:     Borders & Hood – Dr. Hood

Patient name: 	            	      Arthur Little

Scan date: 		      05/11/2024

Scan/reading information:

| Scan Date | 05/11/24 | 12/12/20 |
| --- | --- | --- |
| Sonographer | Laura | Laura |
| Reader | Diane Morgan | Diane Morgan |

Concerns:

| Scan Date | 05/11/24 | 12/12/20 |
| --- | --- | --- |
| Mean IMT | 1.24 | 0.98 |
| Max Region | 1.43 | 1.14 |
| RCCA | 2.0 H | 1.2 |
| RICA | 2.7 E | 2.2 H |
| LCCA | 1.3 H | 1.2 |
| LCB | 1.3 H | 1.0 |

Significant change in MM and plaque burden. Prior is close to four years old, but wanted to double check that this was all accurate.  First exam was in 2020 and no more recent scans.