Today’s date: 		             06/10/2025

QC Received by 		     Angela

Practice/Physician:   		Individual Patient

Patient name: 		           Villanueva, Laurent

Scan date: 		             05/28/2025

Response is made:

Scan/reading information:

| Scan Date | 05/28/25 | 06/09/23 | 2022 |
| --- | --- | --- | --- |
| Sonographer | Ebony | Dana | UNK – DIF PROVIDER |
| Reader | Diane Nielson | Diane Morgan | UNK – DIF PROVIDER |

Concerns:

| Scan Date | 05/28/25 | 06/09/23 | 2022 |
| --- | --- | --- | --- |
| LCB | 2.1 H | .9 | 1.56 (grade not reported) |

In this most recent scan, a heterogeneous plaque was identified in the left carotid bulb, measuring 2.1 mm. I noticed an inconsistency that I’d appreciate your help clarifying.

I had a scan with your team two years ago. At that time, the left bulb measured 0.9 mm, and no plaque was flagged. However, a scan I did three years ago with a different vendor identified plaque in the same left bulb region, measured at 1.56 mm on their technology, despite lower overall mean IMT values. I find it unlikely that I had plaque in that location three years ago, then none two years ago, and now again this year, especially while the other two measurements on the left side have actually decreased compared to two years ago.

Would it be possible for your team to review the raw image files from 2023, specifically in the left bulb region, to see if anything may have been missed at the time?

My goal is simply to track changes accurately over time, and having confidence in the continuity of the data is important for that.