Today’s date: 		        06/04/2024

Practice/Physician:  	       Cher Jacobsen

Patient name: 	            	      Christopher Dalpra

Scan date: 		      05/24/2024

Scan/reading information:

| Scan Date | 05/24/24 | 06/06/23 | 03/23/22 | 11/11/20 |
| --- | --- | --- | --- | --- |
| Sonographer | Javier | Sheri | Todd | Valerie |
| Reader | Diane Nielson | Diane Nielson | Diane Nielson | Diane Nielson |

Concerns:

| Scan Date | 05/24/24 | 06/06/23 | 03/23/22 | 11/11/20 |
| --- | --- | --- | --- | --- |
| Mean IMT | 0.95 | 1.20 | 1.26 | 1.20 |
| Max Region | 1.23 | 1.57 | 1.61 | 1.60 |
| RCB | 3.2 E | 2.8 H | 2.7 H | 2.4 H |
| RICA | .8 | 3.0 E | 3.0 E | 2.7 E |
| LCCA | 1.2 | 1.3 H | 1.4 H | 1.6 H |
| LCB | 3.1 H | 5.2 H | 5.2 H | 5.2 H |
| LICA | 2.8 E | 4.1 H | 4.1 H | 4.0 H |

Submitted for QC due to significant change in the mean and max and the left side of patient report.

It is noted that in 2023 the mean and max were changed from readers original measures. I have included the KPT for the original read from Diane Nielson, and the copy of the report that was sent.

No notes were taken at the time, but it appears that the large plaque on the near wall of LCB/LICA area was carried over by admin. I also provided KPT’s for 2022 and 2023 so you could see Diane’s unedited reads.

Given the relatively large gap in time since the LCB/LICA lesion was last imaged, and the consistent change reported in the MM, I thought it best to have you review the report.